## Solar Power System Ret
Broken Hill Solar Power System ROI Calculator (Enter values in light blue boxes to change) |  | Average daily system Production (kWh) | Daily self-consumption (kWh) | Daily solar export (kWh) | Daily electricity bought from grid (kWh) | Daily savings from self-consumption ($) | Daily savings from solar export ($) | Total daily savings ($)
System Size (kW) | 5 | 19.5 | 15.6 | 3.9 | 3.5781 | 3.744 | 0.312 | 4.056
Feed-in Tariff | 0.08
Cost of Electricity | 0.24 | Quarterly electricity bought from grid (kWh) | Quarterly self-consumption (kWh) | Quarterly solar export (kWh) | Quarterly electricity bought from grid (kWh) | Quarterly savings from self-consumption ($) | Quarterly savings from solar export ($) | Total quartley savings ($)
Quarterly household energy usage (kWh) | 1750 | 326.5 | 1423.5 | 355.875 | 326.5 | 341.64 | 28.47 | 370.11
Average daily household energy usage (kWh) | 19.1781
Self-consumption vs Export e.g. (0.7 = 70% self-consumption) | 0.8 | Number of years to pay off | Annual ROI (%) | Annual Savings ($)
Average Daily Sun Hours | 3.9 | 8.1057 | 12.34% | 1480.44
Efficiency factor | 0.9 | © 2012 Solar Choice, Australia's Solar Energy Brokers
Cost of system | 12000