## Solar Power System Ret
Port Augusta Solar Power System ROI Calculator (Enter values in light blue boxes to change) |  | Average daily system Production (kWh) | Daily self-consumption (kWh) | Daily solar export (kWh) | Daily electricity bought from grid (kWh) | Daily savings from self-consumption ($) | Daily savings from solar export ($) | Total daily savings ($)
System Size (kW) | 5 | 20 | 6 | 14 | 13.1781 | 1.2 | 3.22 | 4.42
Feed-in Tariff | 0.23
Cost of Electricity | 0.2 | Quarterly electricity bought from grid (kWh) | Quarterly self-consumption (kWh) | Quarterly solar export (kWh) | Quarterly electricity bought from grid (kWh) | Quarterly savings from self-consumption ($) | Quarterly savings from solar export ($) | Total quartley savings ($)
Quarterly household energy usage (kWh) | 1750 | 1202.5 | 547.5 | 1277.5 | 1202.5 | 109.5 | 293.825 | 403.325
Average daily household energy usage (kWh) | 19.1781
Self-consumption vs Export e.g. (0.7 = 70% self-consumption) | 0.3 | Number of years to pay off | Annual ROI (%) | Annual Savings ($)
Average Daily Sun Hours | 4 | 7.4382 | 13.44% | 1613.3
Efficiency factor | 0.9 | © 2012 Solar Choice, Australia's Solar Energy Brokers
Cost of system | 12000